Sirius Technologies ST301U/ST302U

USB Data Logger

Operating Manual V1.0

ST301U/ST302U
USB Data Logger

Table of Content

1. Specifications………………………………………………..….………Page 2
2. Data Logger Content………………………………………...……….. Page 3
3. Installation Requirement…………………………………….………..Page 3

4. Hardware Setup……………………………………………….………Page4-9
5. Software Installation……………………………………….……..Page 10-15
6. Data Logger Setup…..…………………..………………………..Page 16-22
7. Data Logger Data Download……………...…………….……....Page 23-29
8. Using other software functions…………………………………Page 30-34
· File
· Logger
· View

· Test COM port

9. Warranty…………………………………………………………..…Page 35
1. Specifications
    [image: image1.jpg]LED Indicator

USB Connector




Specifications 
	Model #
	ST301U
	ST302U

	Type
	Temperature
	Temperature/Humidity

	Channels
	1
	2

	Range
	-20°C to 70°C
	-40°C to 85°C

	Temp. Accuracy
	±0.7°C at 21°C
	±0.7°C@25°C

	Humidity Range
	
	0-100% RH

	Humidity Accuracy
	
	2.5% Rh (20-80%Rh)

	Resolution
	12 Bits
	12 Bits

	Memory
	64K
	128K

	Interface
	USB
	USB

	 # of reading
	30,000
	60,000(30K Pairs)

	Sensor
	Internal
	Internal

	Sensor 
	Thermistor
	Temp/Hum


2. Data Logger Content
	[image: image2.emf]
	[image: image3.jpg]



	
[image: image4.wmf]

	1. Data Logger Unit
	2. USB Cable

	3. Installation Disk




3. Installation Requirements:

· Minimum system requirements for the software 

-Pentium III - 500 MHz processor or equivalent with 128 Megabytes of RAM.

· Optimal Performance: 

-Pentium 4 - 2.8 gigahertz processor or equivalent with 256 Megs or ram

· Operating System Requirements:

-Windows 2000

-Windows XP
4. Hardware Setup
    4.1.- Connect small end of cable to the data logger.  

4.2.- Connect large end of the cable to PC’s USB port.

[image: image5.emf]
4.3.-  Found New Hardware 
Window will identify ST300’s USB connection driver as” CP2103 USB to UART Bridge Controller”
[image: image6.jpg]i) FoundNew Hardware | X]
7 Brida





Fig. 4.3.
4.4.  Ready to Use 
Window will install the USB driver automatically.  It only needs to install once.  

The message “Found New Hardware- Your new hardware is installed and ready to use.”
confirms the USB driver is successfully installed.  

It’s ready to use.

[image: image7.jpg]) Found New Hardware

Your new hardiware is nstalled and ready to





4.5. Driver Verification

Click on Start, Click on Control Panel, Click on System, on click Hardware, Click on Device Manager, Click on  Port(COM and LPT).
Identify “CP210X USB to UART Bridge Controller”.  If it’s there, the driver has been successfully installed.

[image: image8.jpg]2. [=[3

Fle Action Vew Hep

«-|mEFs 2 B [xR

© B e anszery z
9 conputer

2, DVDICD-ROM drives
Floppy disk controllers

3, Floppy dek drves

{3 Human Interface Devices.

2 IDE ATAIATAPI controllers

3 Imaging devices

> Keyboards

ice and other poiting devices

Honiars

58 Netuork adapters

- Ports (COMaLPT)
g ‘Commurications Port (COM1)
57 ECP Printer ort (PT1)

A Processors

@, Sound, video and game controllers -

g System devices
e & Lniversal Serial Bus contrallers





Fig. 4.5.1
Correct USB Driver property
4.5.2. Correct USB Driver property
[image: image9.jpg]CP210% USB to UART Bridge Controller {E0M4)

General | Por Settings | Diiver |

j CF210% USB to UART Biidge Contoller (COM4)

Devicetype:  Potts (COM &LFT)

Manufactuwer:  Siicon Laborataries

Location: CF2103 USE to UART Bidge Controller
Device staus

[This device is warking propetl.

I you ae having problems with this device, click Troubleshoot to
st the traubleshooter.

Troubleshaot,

Device usage:

Use ths device (enable]





Fig. 4.5.2.
4.5.3. Correct Driver Version- 5.1.0.0

[image: image10.jpg]Silicon Labs CP210x USB to UART Bridge (CO! s 21|

Gerera] PottSetings e | |

Sican Labs CP210 USE to LIART Bridge (COM4)

Diiver Provider:  Siicon Laboratories
Diiver Date: 10/15/2007
Diiver Versiors 6100

Digial Signer:  Mictosolt Windows Hardware Campatiiy Publ

DS Do e ke i
it v st
oo |l s et e e
el back to the previously installed diiver.
Uninstall To uninstall the driver [Advanced].





Fig. 4.5.3.
5. Software Installation

 5.1. Insert the CD into the disk drive.


[image: image11.wmf]
Fig.5.1.
5.2. Click on  Setup  to start installation

[image: image12.png]Data logger setup.




Fig. 5.2
5.3. Follow the Installation Shield Wizard’s installation instruction. Click Next. 

[image: image13.jpg]‘Weloome to Siius Data Logger Setup program. This progiam wil
instal Sirus Data Logger on your compute.

Itis stiongly recommended that you et al Windows programs
before tunring ths Setup Frogram.

Click Cancel to quitSetup and cose any programs you have
rring. Clik Nest o cotinue with the Setup program.

WARNING: This program s potected by copyright law and
intemalional reaies.

Unauthorized reprodhction or disibution of thisprogram, or ary
parton of i, may result in severe civl and ciminal penalies. and
wilbe prosecuied o the masimum et possible Undet 2.




Fig. 5.3
5.4. Select destination folder and click Next to continue.

[image: image14.jpg]is Data Logger N

Destination Location

Setup wil nstll s Dt Logger inthe following folder.
Toinstalinto a diferentfoder,cick Browse, and select anothe folder

Yo can choose ot o nstal Siius Data Logger by clicking Cancelto it Setup.

Destinaton Folder

Lo e e | |

Wise Instaliaion Wizaide:

=




Fig. 5.4
5.5.-Click Next to continue
[image: image15.jpg]is Data Logger

Start Installation

Yo are now ready o instal Sius Data Logger.

Click the Neat button o begin the instaltion or the Back button to eertes the nstallation
informalon.

Wise Instalaton Wizard®

B e




Fig.5.5.
5.6. Installing program

[image: image16.jpg]jus Data Logger

g a4

"

AlFies

Time Remaining 0 rinutes 1 second

helroabon i
cons | >





Fig.5.6

5.7. Installation completed.  Click Finish to complete the setup program.

[image: image17.jpg]Sius Data Logger has been suscessfull installed.

Click the Frish button ta exit tis insallaion.

<ok ol




Fig. 5.7.
6.  Data Logger Setup
6.1.-The ST300U series data logger requires the user to setup the data logger from the PC interface program. 

From Window’s start menu, 
Click on All programs, Click on Sirius Data logger, Click on ST300 DATA LOGGER 
 to start the PC program.

[image: image18.jpg]



Fig.6.1. ST301 Data logger software main menu
6.2. - Click on the icon to start the Setup menu 

[image: image19.jpg]® Data Logger





Fig.6.2.1
or

[image: image20.png] Data Logger
[

) view indow Help

Donnload Recards Clrk+D

Test COMPort





Fig. 6.2.2.
Click on Logger, click on Setup to enter the setup screen.

6.3. -. Setup menu

[image: image21.jpg]& Data Logger - [ST300 Data Logger Parameter Setting Form]

5 Fle Logger View Vindow Help

=81
=81

=| 6| 88| ¥| ¥

Protet e STo02801 (D)
Mt Rosont Huber 30999(3)

@ree

111712007 3.09:15 P

(D psscription:

Parameter Settings

(®) tterva (Dusation) - |

i Tooh

[ Rea Time Data Readng sttt [7377 2007 <[5 0515 RV I oely Stat ()
Measurement Reading. — L
Temperatue (°F) @ 2 Q) v Tis: V178 2007 < 7 415 AN
Teupentus () ® 262 L
Hurdity (%) 152 "
® cm;kd Batiry Satus ﬁ T
L ® Lol Conroic st Mex cancel
© w |[ = =
e
o w | © ! T
© ©
o ® T I
x x
o o || o .
ST302R01 - Temperature. = = ST302R01 - Humiclty(%)
Status. [117772007 [F03PM




Figure 6.3.- Setup Menu
6.3.1. Data logger information and real-time display
[image: image22.jpg]Prodt e STo02801 (D) @ e tnmmaisEm
Mo Rosont Huber 30099(3)

-Real Time Data Reading

Measurement Reading

Tomgertn (F) ® w2
Tempentun () ® 22
Hundity (%) ® 52





Fig.6.3.1
	1. 
	Product Name
	Model #

	2. 
	Date
	Current Date and Time

	3.
	Maximum Record Number
	Maximum # of records can be stored in a data logger

	4. 
	Temperature (F) 
	Real Time- Temperature(F) 

	5.
	Temperature (C)
	Real Time- Temperature(C)

	6.
	Humidity (%)
	Real Time- Humidity


6.3.2. Setting Menu
[image: image23.jpg][ Parameter Ssttings

(Dsscription:  [Firus Teck

(&) Interval (Duration)

=

(9)stat Tie:

TR pely stat @

(DT
\

Connected  Battery Status @ swesetrg

& @l |





Fig. 6.3.2.
Parameter Settings
	7.
	Description
	Enter data logger description

	8.
	Interval(Duration)
	Select sampling Interval

-2sec/3sec/4sec/5sec/6sec/7sec/8sec/9sec/10 sec 15sec/30sec/45 sec

-1min/5min/10min/20min/30min

-1hr/3hr/8hr

	9.
	Start Time
	Data logger start record time(No user input)

	10.
	End Time
	Data logger end record time(No user Input)

	11.
	Delay Start
	Set Delay start time

	12.
	Data logger & PC connection status
	Connection status
-Green-connected

-Red- not connected.

	13.
	Battery Status
	Real-Time battery status in the data logger

	14.
	Save Setting & Channel
	Save Settings and start the data logger.


6.3.3. Real-Time Graph Display

[image: image24.jpg]&

C

a

2

o || @
o ||
£l
a
2
ll|E
0 0

STA02RD - Tempersture.

I

STA02RD - Humidty(%)

E
an
£l
B
10





Fig.6.3.3.
	15.
	Temperature Real-Time
	Real-Time temperature display 

	16.
	Humidity Real-Time
	Real-Time Humidity display


Display real-time temperature and humidity value from the data logger.
6.4. Using Delay Start
[image: image25.jpg]Parameter Settings

Descrption: St Teck
Interval (Duration) /
St Tine:—— [1177 (2007 <] 3 57-18 P 1 Dol St
Exd Tine T
R
Connected  Battery Starus A
Low Caution Safe Max Cancel

E ——— : s
w a
£ Y
= R 2
ol——t—t 1 0
L T [ 1T D

TR - iy )





-Check Delay Start box.  

-The Start Date/Time window will light up.

-Select the Start Date to start the data logger.

-End Time will be computed automatically according to the start date/time and interval values.

-Click Save Setting to save the settings to the data logger. Data logging will start.

7. DATA Download
7.1. Click on the icon to start the Download menu. 
[image: image26.jpg]® Data Logger





Fig.7.1
or
Click on Logger, Click on Download Records to start the Download menu.

[image: image27.png]#® Data Logger.

et

Dovrload Recards Clrl:D





Fig. 7.1.1
7.2. The software will try to establish the connection between PC and the data logger.

[image: image28.png][Connecting





Fig. 7.2.
7.2. Data logger Found.

[image: image29.png]Found Data Logger ST302R01





Fig. 7.3
7.4. Save the data in .adc file format. 
[image: image30.jpg]@ Data Logger ~ [Dovnload Data Fr

L Mindow Nelp

;IQ@@I!IL«%J

Product Nane staozaot Description: ¥
Tnterval @ueation): 2 Sscond Start Date & Tine:  2007-10-23 10:59:33 A End Date & Tine: 2007-10-24 03:38:15 AN

Total Racord Nusber: 29892

Tenp (€ / RAG) Date Tins Reading

Savein: [ ) MyDocuments o] «@cE-

L;B =g Demc
I 100cANON Qexcefie
MyRecent 5275 Seey
Doaments (55705 S
SAutochD shest sets =

Qbox
Deop (5o

(2300a.51¢ D2ames

(Ddatafie Dkdogoer
{C)0atslogger Software. Dlogger
(E300wrload

Q101

205101 My etocks

officel

[ADC count ory (~ade)

Stats (0710 (1443




Fig.7.4-  (Enter .adc file name)

7.5. Downloading Record
[image: image31.jpg]® Data Logger — [Dovnload Data From Logger]

5 File Logeer View Hindow Kelp

| u 58| ¥ ¥

Product Nane. sta0zR01 Deseription: U
Tnterval (uration): 2 Second Start Date & Tine: 2007-10-23 10:59:33 M End Tate & Tine: 20071024 03:39:15 A
Total Record Wumber: 29392 S

ooo0oo me e G

Temp (" ) / RH()

enp

s 007025 (1424




Fig. 7.5
Once the connection is established, the software will automatically download all the records in the data logger to the PC.
7.6. Download success. 
[image: image32.jpg]



Fig. 7.6
Data is downloaded to the PC.  It’s ready for viewing.  Click OK to view the data.

7.7.Viewing Data

[image: image33.jpg]W-Data Logger - [Download Data From Logger]

View Window Help

& File Logger

= Bl 818 |

Prodt Nawe: STH02R01 Desciption Sius Tech
Interval (Duration) : 2 Second Start Date & Tire :11/7/2007 2:39:21 PM ‘End Date & Time:11/7/2007 2:42:29 PM
Total Record N - 95
B o)
TewplCF) 1RH(A) Dae i Tomp  RH
5 [T 2412 PN 774 468
\nnoy 2aL9PM T4 463
Loy 24t17EM T4 467
[ 1172007 2:41:15PM 774 467
a0y 24U3EM T4 467
Loy 24uiiEM T4 463
44 11772007 241.09PM 774 467
PR P \nmor 2a107EM aTT4 47
oy 2atosem 12 a2
L r 1172007 24103PM | 774 463
oy 2ai0ieM |74 a7
Rt oy 2aEM |74 467
i 11/72007 2:40:57PM $ 774 467
i — —_— [
Data Llne 11772007 2:40:53PM o 774 467
. oy 2asiem |2 a7
oy 2aeEM |72 sz
oy 2aarem |72 sz
- oy 2avasem [n1 o sz
oy 2avaem ¥n2 o as
nnooy 2aA M T2 469
- Loy 2aEM T2 463
ooy 2a37PM T2 463
Loy 2a035EM T2 463
126t Loy 2a03EM T2 463
ooy 2a3iEM T2 463
ooy 2a®EM T2 467
L Loy 2a02EM T2 467
nnooy 2a025PM T2 467
o \nmony 2a2EM T2 463
23921 P11 2358 EM 24036 7 2at137M 24151 P 2P
107 L0 107 1707 L0 107





Fig. 7.7

The right column is for data display. The left column is for data graphic display.  Move the cursor up or down to scroll through the data.  The black data line corresponds to the high-lighted data entry.  
8. Using Other Software Functions

[image: image34.jpg]S Fie Logger View Window Help
S open aio
= EpotoaatoEselFie

Print Data

it Chart

Ext





8.1. FILE

8.1.1.Open
-Click on Open to open the file in .adc format.

8.1.2. Export Data to Excel File
 
-Save download data in Excel format.
8.1.3.  Print Data
-Print data in data format.

8.1.4. Print Chart

-Print data in Graphic format.
8.1.5.Exit
- Click on Exit the ST300 data logger program.
8.2. Logger

[image: image35.jpg]Data Logger

Fie | Logger View Window Help

= s cue
Donnload Recards Clrl+D

Test COMPort





8.2.1. Setup

-Click Setup to enter Setup screen

8.2.2.  Download Records

-Click Download to  Download screen

8.2.3. Test COM Port
-Test available COM port

8.2.3. Test COM Port

COM Port available.

[image: image36.jpg]@ Data Logger





Fig. 8.2.3.
8.2.4. COM port not available. 

[image: image37.jpg]i Data Logger
ndow el





Fig.8.2.4. 
8.3. View 
 
[image: image38.png]® Data Logges
55 Fle Logger window _Help

= v Toobar

slaisiizE, B
| Temp(CF) | RHC%)
ProductName =S remptod)f Riken)





Click on Temp(F) or Temp(C) to change temperature unit.
9. Warranty

Sirius Technologies, Inc. equipment is warranted for a period of twelve (12) months from the date of purchase to be free of defects in material or workmanship. This warranty does not apply to damage resulting from accident, alteration, abuse, loss of parts or repair by 
other than Sirius Technologies, Inc. The equipment will be repaired or replaced, at our option, without charge to the owner for parts or labor incurred in such repair. This warranty shall not apply unless the equipment is returned for our examination with all transportation charges prepaid to:

Sirius Technologies, Inc.
418-B Cloverleaf Drive
Baldwin Park, CA 91706
U.S.A.
Http://www.siriustec.com

PAGE  
5
418-B Cloverleaf Dr. Baldwin Park, CA 91706

TEL:(626)934-0100 FAX:(626)934-0161 E-Mail: INFO@SIRIUSTEC.COM


_1202028482.dwg

_1202028732.dwg

