Sirius Technologies ST303U Data Logger

User Manual V1.0

ST303U
4-Channel

Signal Processing
USB
Data Logger


[image: image1.wmf]
Table of Content

1. Specifications, Dimension and Connections………….…Page 2  
2. Data Logger Content……………………………………….........Page 6
3. .Installation Requirement…………………………………......Page 7
4. Hardware Setup………………………………………………………..Page8
5. Software Installation………………………………………………..Page 9
6. Data Logger Setup………………………………………………….Page 12
7. Data Logger Data Download………………………………….Page 17
8. Using other software functions……………………………..Page 24
· File

· Test COM port

9. Warranty………………………………………………………………...Page 25
1. Specifications & Dimension
1.1.- Dimension


[image: image2.wmf]
1.2.- Specifications 
	Model #
	ST303

	Type
	4-Channel Signal Processing

	Channels
	4

	Range
	-20°C to 70°C

	Temp. Accuracy
	±0.7°C at 21°C

	Resolution
	12 Bits

	Memory
	128K

	Interface
	USB

	 # of reading
	30,000

	Sensor Connection
	External

	Temperature Sensor 
	Thermistor-(-20C to 70C)

	Voltage Sensor
	0-2.5 DCV

	Current Sensor
	4-20mA


1.3.- Typical 4-Channel Connection

[image: image3.wmf]+

-

+

-

+

-

+

-


1.4-Voltage Connection

[image: image4.wmf]+

-

+

-

Power supply


1.5.- Current Connection


[image: image5.wmf]+

-

+

-

-

+

Power supply

Sensor


1.6.- Temperature Sensor Connection

[image: image6.wmf]
2. Data Logger Content
	Model#
	Description
	Item

	ST303
	Data Logger 


	
[image: image7.wmf]

	RS1
	RS-232 Cable
	
[image: image8.wmf]

	SF300
	Installation Disk
	
[image: image9.wmf]

	S1
	0-10V Voltage Cable
	
[image: image10.wmf]

	S3
	4-20mA Cable
	
[image: image11.wmf]

	S4
	Temperature Cable
	
[image: image12.wmf]


3. Installation Requirements:

· Minimum system requirements for the software 

-Pentium III - 500 MHz processor or equivalent with 128 Megabytes  of RAM.

· Optimal Performance: 

-Pentium 4 - 2.8 gigahertz processor or equivalent with 256 Megs or ram

· Operating System Requirements:

-Windows 2000

-Windows XP
4. Hardware Setup
1.  Connect one end of cable to the data logger.  

2.  Connect the RS-232 end of the cable to the computer.

[image: image13.wmf]RS232 CABLE


3. 4-Channel sensor connection.

[image: image14.wmf]+

-

+

-

+

-

+

-


5. Software Installation


[image: image15.wmf]
A. Insert the CD into the disk drive.


[image: image16.png]Data logger setup.




B. Click on Data logger setup to start installation.


[image: image17.png]Shield Wizard

Installshield Wizard Completed

The Instalishield Wizard has successfully installed ST
DATALOGGER . Click Finsh to ext the wizard,

<ok Cancel





C. Follow the Installation Shield Wizard and click Finish to complete installation.

6. Data Logger Setup
6.1.- The ST303 Series data logger requires the user to setup the data logger from the PC interface program. 

From the ST303 software main menu, 
Click on All programs, Click on Siriustech, Click on ST DATALOGGER, Click on ST Datalogger to start the PC program.


[image: image18.png]



Figure 6.1- ST301 Data logger software main menu.

[image: image19.jpg]



Click on the icon to start the Setup menu.

Or 

[image: image20.png] Data Logger
[

) view indow Help

Donnload Recards Clrk+D

Test COMPort





Click on Logger, click on Setup to enter the setup screen.

6.2. Setup menu

[image: image21.jpg]Wi Data Logger - [ST300 Data Logger Parameter Setting Form]

. File Logger Wiew Window Help

= | 8 ¥ ¥

Product Mame:  ST303R01 @
Marimurnm Record Mumber: 15000 @

1 Parameter Settings

Date: 8/24/2006 12:07:25PM (2) (@) Deseiption: [21.08

@ Interval (Duration] {2 gec 228
- Real Time Data Reading (©)start Tire: 8/29/2008 [[11:53004M =] & Delay Start ()

Measurement Channel Reading — =

TBmDerature\ _— B0.4°F 26.3°C (Q)End Time: 8/16/2006 «[[8:1350PM =1 Disable/Enable Chamnel | (2)
Temperature 2 81.5°F 2F5°C =

Temperature @\ 3 @ 1.9°F @ 77T . z ; : : @

e 4 829°F 283°C °":“e attery;ilaits

® L Safe Caution Max Cancel

100 100 100 100
B0 [t — g0 g0 S g0
60 G0 60 G0
40 40 40 0 I 40
20 20 20 ! ! 20

a a a a
ST303R01 - Chl Tempersture @ el 2 -_—t ST303R01 - Ch2 Tempersture el 2 -_—t

100 100 100 100
80 e g0 80 g0
=11] (=11) =11] (=11)
40 40 40 40
20 = 20 20 20

a a a a
ST303R01 - Ch3 Temperature =F == ST303R01 - Cha Temperature @ =F ==
Status | 8/24/2006 | 1207 PM





Figure 6.2- Setup Menu
	#
	Item
	Description

	1. 
	Product Name
	Program will identify model # connected to the RS232 port

	2. 
	Date
	Current computer date

	3. 
	Maximum Record number
	Maximum number of records can be store in one data logger

	4.
	Channel 1-4
	Channel 1 to 4 display

	5.
	Temperature(F)
	Current real time temperature reading in F

	6.
	Temperature(C)
	Current real time temperature reading in C

	7.
	Description
	Type in description for the data logger.  The description will be saved in the data logger memory.

	8.
	Interval(Duration)
	Select sampling Interval
Sec(1/2/3/4/5/6/7/8/9/10/15/30/45)

Min(1/5/10/20/30)

Hour(1,2,8)

	9.
	Start Time
	Select start date to start recording

	10.
	End Time
	Select end date to end recording

	11.
	Delay Start
	Check this box to start at later time(Need to set 9.Start time and 10.End time)

	12.
	Disable/Enable Channel
	Select to enable or disable channel 1-4

	13.
	Connect
	Connection Status –Green-Connected, Red-Disconnect

	14.
	Battery Status
	Battery Status Indicator

	15.
	Save Setting
	Click to save setting to the logger and start logging

	16.
	Cancel
	Cancel 

	17.
	Ch1 Real Time
	Channel 1 real-time graphic display

	18.
	Ch2 Real Time
	Channel 2 real-time graphic display

	19.
	Ch3 Real Time
	Channel 3 real-time graphic display

	20.
	Ch4 Real Time
	Channel 4 real-time graphic display


Once the (9.)start date and (10)end date parameters have been selected, click (15)Save Setting to save the parameters to the data logger.  If the (11)Delay Start Record box is checked, the logger will start according to the set start and end time.  If the box is leave blank, the data logger will start recording immediately once the (15)Save Setting  button is clicked.

7. Data Logger Data Download
[image: image22.jpg]



A. Click on the icon to start the Download menu.

Or
Click on Logger, Click Download Records to start the Download menu.


[image: image23.png]#® Data Logger.

et

Dovrload Recards Clrl:D





7B. The software will try to establish the connection between PC and the data logger.
[image: image24.jpg][Connecting COM1




Figure 7B-Establishing Connection
7C.- Data Logger Found.
[image: image25.jpg]X

Found Data Logger ST303R01





Figure 7C- Data logger Found.

7D. Once the Connection is established, the software will automatically download all the records in the data logger to the PC.
[image: image26.jpg]& Data Logger - [Download Data From Logger] X

5 e Logger View wWindon b o x
2| & 8| ¥ &

ProductName: ST Desarpton:  Sis STA03

Interval (Duration} 1 Second Start Time:  8/24/2006 2:05:09 PM End Time: B/24/2006 2:11:49 PM

Tetal Recard Number 400

Date  Time Reading

CH 12 Voage(0-10)

Status 8/24/2006 212PM




Figure 7D- Downloading Record

7.E.  Once the download is competed, the software will prompt you to save an .adc file.  The .adc file is for ST301 software use only.  The retrieved data records are saved in .adc format.  The saved file can  later be downloaded back to the computer for graphic and data viewing.

[image: image27.jpg]# Data Logger - [Download Data From Logger]

= ol & o] ]

Pradct Name: STa0R0T Desciption:  Sius ST303

Irterval Duration} 1 Second Start Time:  8/24/2006 20503 PH EndTine:  8/24/2006 211:43PM

Tetal Recard Number. 400

CH 1: Vokage(0-10V) I Dalca e Reading

Swein [DMWboomens =]

(2 110ForsslePics

Sy ebocks Dot
My Recent —|ny Music
Doctnents |y skype Received Fies
(S0 dobug
(Cistane_z00s.08.20
Dekiop  (Ssronal
(Ssta0ia_softwae
Sstior_s
e

oero Ui ade

[Bmstaotasgc

My Computer

fs T =l Sae
WoNawak  Swesstos  [DCemebted =l Cance

Places

Status 8/24/2006 |219PM




Figure 7E- Enter .adc file name
7.F. After the .adc file is saved, the retrieved data will be display in both the graphic and data format for viewing.  Click on the any data record set (A), will correspond to the exact point on the graphic(B). 

[image: image28.jpg]#® Data Logger - [Download Data From Logger]|
55 Fie Logger View Window FHelp

=| 8| 8 | ¥

Podetans, ST Descrpler S ST203
Interval (Duration): 1 Second Start Time:  8/24/2006 2:05:03 PM End Time: B/24/2006 2:11:49 PM
Tl Recrd Number, 400
CH 1: Voltage(0-10V] Vaiz iz Haste
i
GG JEI A 6% &
Baie sma £ .
Gaie smam  £n
72 8/24/2006 20848PM  £56
e
Gavie 2msm £
o e i
G smumi e
Gaue s ts
e i
sl BAe SmATEM Bk
G smam 63
B Bae 2R 65
ol e
Gae sy £
o R
Gauie 2 £
i Baie smumi £
Baite S0 E5 N
W R S 550
2t A Gae 2mami  eal
Gaie s b
G s 6%
b Gaie s £
Baie smami £
Gaie smmm £
Gae smami €30
16 - 8/24/2006 20823PM B35
G smam 67
Gaie sz £5s
o G s £
Gaie 2mrm £
Baie sl £
o i . i ; | ; . i . | 18242008 20817PM  85¢ &
ms e mey  me s aws  we3 ;s w1

Stats. 872412006 12PN




Figure 7.F.
7.G. Channel Selection
[image: image29.jpg]® Data Logger - [Download Data From Logger]
WindowFHelp BEE:

& File Logger

=| || &| v I

v Status Bar

Display Option CH 1 Vokage(0-10%)

Product Name!

e

Irterval Duration} 1 Second CH3: Vokage(®-10)  bog 505,09 p EndTine:  8/24/2006 21143 PM
CH4: Vokage(0-10%)

Total Recard Number. 400

CH 1: Vokage(0-10V) CHER e Reading

8

8724/2006 20851 PM 656 &
8/24/2006 20850PM 656
2/24/2006 20949PM 633
72 - 8/24/2008 20848PM 656
8/24/2006 20847PM 651
8/24/2006 20845PM 657
oh 8/24/2006 20845PM 663
8/24/2006 20844PM 641
8/24/2006 20843PM 652
8/24/2006 20342PM 663
56 /242006 20841PM 654
8/24/2006 20340PM 654
8/24/2006 20833PM 653
o 8/24/2006 20838PM 651
/242006 20837PM 655
2/24/2006 20836PM 659
8/24/2006 2083PM 656
4l 8/24/2006 2083PM 662
8/24/2006_20833PM__ 658 -

8242006 20831 PM 655
- 8/24/2006 20830PM 661
8/24/2006 20823PM 664
2/24/2006 20828PM 655
oil 8/24/2006 20827PM 658

8/24/2006 20826PM 654
2/24/2006 20825PM 657
8/24/2006 20824PM 650
16 - 8/24/2008 20823PM 635
/242006 20822PM 672
8/24/2006 20821PM 653
5 8/24/2006 20820PM 648

8/24/2006 20819PM 642
8/24/2006 20818PM 653
8/24/2006 20817PM 654

&

ol . . ' . b . . . . .

EL) 798 1197 1598 1995 234 23 3192 391 E

Stats BI24/2006 212PM




Figure 7.G.
Click on View, Click on Display Options to select Channel 1-4 to display on the screen.  On the example, Channel 2 is selected.
8. Using Other Software Functions

A. FILE

1. Open

-Click on Open to open the file in .adc format.

2. 
Export Data to Excel File

-.adc format file can be saved in Excel format for editing.

3.  Print-

-The display data set can be send to the printer by click on the Print command.

4. 
Exit
- Click on Exit the ST303 data logger program.

B. Test COM Port

Click on Logger, click on Test COM port to test the validity of the communication port.  

9. Warranty
Sirius Technologies, Inc. equipment is warranted for a period of twelve (12) months from the date of purchase to be free of defects in material or workmanship. This warranty does not apply to damage resulting from accident, alteration, abuse, loss of parts or repair by 
other than Sirius Technologies, Inc. The equipment will be repaired or replaced, at our option, without charge to the owner for parts or labor incurred in such repair. This warranty shall not apply unless the equipment is returned for our examination with all transportation charges prepaid to:

Sirius Technologies, Inc.
418-B Cloverleaf Drive
Baldwin Park, CA 91706
U.S.A.

PAGE  
1
418-B Cloverleaf Dr. Baldwin Park, CA 91706

TEL:(626)934-0100 FAX:(626)934-0161 E-Mail: INFO@SIRIUSTEC.COM


_1217924653.dwg

_1217946685.dwg

_1217946981.dwg

_1217947119.dwg

_1217947206.dwg

_1217946861.dwg

_1217924678.dwg

_1217925476.dwg

_1202028482.dwg

_1217924199.dwg

_1202028732.dwg

_1202028385.dwg

